Complaint for OceanOptics.

Instruments:

Ocean Optics QE65 Pro

Ocean Optics

///

Measuring – Ethanol 96% [GADOT] from a polystyrene 60ml cup

Room temp, 19 April 2017

Run specs:

Integration time: 2s, continous

Range: 795nm – 1163.25 nm

Wavelength: 785nm

**Product Version:** 1.5.2

**Java:** 1.8.0\_31; Java HotSpot(TM) 64-Bit Server VM 25.31-b07

**Runtime:** Java(TM) SE Runtime Environment 1.8.0\_31-b13

**System:** Windows 7 version 6.1 running on amd64; Cp1255; en\_US (oceanview)

**User directory:** C:\Users\aro\userdir\_oceanview-aro

**Cache directory:** C:\Users\aro\userdir\_oceanview-aro\var\cache

